## JB Type 1
Storm Sewer Junction Box Type 1
Rim | 10
Invert | 5
Depth | 5
Size (ft) | 5 | *enter "4" for 4'x4' JB, "5" for 5'x5' JB | [5 empty] | Pipe Size | Reduction |  | Pipe Thickness
Pipe Thickness (in) | 3 |  |  | Standard Plate 460.05 |  |  |  | 12 | 0.03 |  | 2
|  |  |  | M6 Conc= | 3.94 | CY |  | 15 | 0.04 |  | 2.25
|  |  |  | Rebar= | 262.25 | LB |  | 18 | 0.05 |  | 2.5
Reductions | Size | Reduction | [5 empty] | 21 | 0.07 |  | 2.75
Outlet | 24 | 0.09 | [5 empty] | 24 | 0.09 |  | 3
Inlet 1 | 0 | 0 | [5 empty] | 27 | 0.11 |  | 3.25
Inlet 2 | 0 | 0 | [5 empty] | 30 | 0.14 |  | 3.5
Inlet 3 | 0 | 0 | [5 empty] | 33 | 0.17 |  | 3.75
Total |  | 0.09 | [5 empty] | 36 | 0.2 |  | 4
[8 empty] | 42 | 0.26 |  | 4.5
[8 empty] | 48 | 0.34 |  | 5
Item | Constant | Variable | V |  |  |  |  | 54 | 0.43 |  | 5.5
M6 | 1.93 | 0.56 | 3.75 |  |  |  |  | 60 | 0.52 |  | 6
Rebar | 131 | 35 | 3.75
[7 empty] | 4 | 1.29 | 103 | 0.46 | 23
[7 empty] | 5 | 1.93 | 131 | 0.56 | 35

## JB Type 2
Storm Sewer Junction Box Type 2
Rim | 10
Invert | 5
Depth | 5
Size (ft) | 5 | *enter "4" for 4'x4' JB, "5" for 5'x5' JB | [5 empty] | Pipe Size | Reduction | Reduction If Arched | Pipe Thickness | Pipe Thickness (Arched)
Pipe Thickness (in) | 3 |  |  | Standard Plate 460.06 |  |  |  | 12 | 0.03 |  | 2
|  |  |  | M6 Conc= | 4.22 | CY |  | 15 | 0.04 |  | 2.25 | 2.25
|  |  |  | Rebar= | 279.75 | LB |  | 18 | 0.05 |  | 2.5 | 2.5
Reductions | Size | Reduction | [5 empty] | 21 | 0.07 |  | 2.75 | 2.75
Outlet | 24 | 0.09 | [5 empty] | 24 | 0.09 | 0.09 | 3 | 3
Inlet 1 | 0 | 0 | [5 empty] | 27 | 0.11 |  | 3.25
Inlet 2 | 0 | 0 | [5 empty] | 30 | 0.14 | 0.14 | 3.5 | 3.5
Inlet 3 | 0 | 0 | [5 empty] | 33 | 0.17 |  | 3.75
Total |  | 0.09 | [5 empty] | 36 | 0.2 | 0.19 | 4 | 4
[8 empty] | 42 | 0.26 | 0.25 | 4.5 | 4.5
[8 empty] | 48 | 0.34 | 0.32 | 5 | 5
Item | Constant | Variable | V |  |  |  |  | 54 | 0.43 | 0.4 | 5.5 | 5.5
M6 | 1.93 | 0.56 | 4.25 |  |  |  |  | 60 | 0.52 |  | 6 | 6
Rebar | 131 | 35 | 4.25
[7 empty] | 4 | 1.29 | 103 | 0.46 | 23
[7 empty] | 5 | 1.93 | 131 | 0.56 | 35

## SF10x
SF 10x Storm Sewer Inlet
Rim | 10
Invert | 5
Depth | 5 |  |  | Standard Plate 460.02
Pipe Thickness (in) | 4 |  |  | Standard Plate 460.03 |  |  |  | Pipe Size | Reduction |  | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness | Pipe Thickness (Arched)
|  |  |  | Standard Plate 460.04 |  |  |  | 12 | 0.03 |  | 18 | 2.75 | 466 | 0.49 | 68.6 | 2.5 | 2.5
|  |  |  | M6 Conc= | 5.2471 | CY |  | 15 | 0.04 |  | 21 | 2.89 | 476 | 0.49 | 68.6 | 2.75 | 2.75
|  |  |  | Rebar= | 809.5167 | LB |  | 18 | 0.05 |  | 24 | 3.03 | 485 | 0.49 | 68.6 | 3 | 3
Reductions | Size | "x" if Arched Pipe | Reduction |  |  |  |  | 21 | 0.07 |  | 27 | 3.17 | 528 | 0.49 | 68.6 | 3.25 | 3.25
Outlet | 36 |  | N/A |  |  |  |  | 24 | 0.09 |  | 30 | 3.31 | 538 | 0.49 | 68.6 | 3.5 | 3.5
Inlet 1 | 0 |  | 0 |  |  |  |  | 27 | 0.11 |  | 33 | 4.56 | 722 | 0.55 | 78.8 | 3.75 | 3.75
Inlet 2 | 0 |  | 0 |  |  |  |  | 30 | 0.14 |  | 36 | 4.72 | 734 | 0.55 | 78.8 | 4 | 4
Inlet 3 | 0 |  | 0 |  |  |  |  | 33 | 0.17 |  | 42 | 5.03 | 793 | 0.55 | 78.8 | 4.5 | 4.5
Total |  |  | 0 |  |  |  |  | 36 | 0.2 |  | 48 | 6.6 | 1004 | 0.6 | 89.7 | 5 | 5
[8 empty] | 42 | 0.26 |  | 54 | 6.94 | 1039 | 0.6 | 89.7 | 5.5 | 5.5
[8 empty] | 48 | 0.34 |  | 60 | 7.28 | 1099 | 0.6 | 89.7 | 6 | 6
Item | Constant | Variable | V |  |  |  |  | 54 | 0.43 | Arched | 24 | 2.79 | 469 | 0.49 | 68.6 | 3 | 3
M6 | 4.72 | 0.55 | 0.95833 |  |  |  |  | 60 | 0.52 | Arched | 30 | 4.07 | 650 | 0.55 | 78.8 | 3.5 | 3.5
Rebar | 734 | 78.8 | 0.95833 |  |  |  | Arched | 24 | 0.09 | Arched | 36 | 4.29 | 700 | 0.55 | 78.8 | 4 | 4
[7 empty] | Arched | 30 | 0.14 | Arched | 42 | 5.68 | 860 | 0.6 | 89.7 | 4.5 | 4.5
[7 empty] | Arched | 36 | 0.19 | Arched | 48 | 6.02 | 914 | 0.6 | 89.7 | 5 | 5
[7 empty] | Arched | 42 | 0.25 | Arched | 54 | 6.2 | 939 | 0.6 | 89.7 | 5.5 | 5.5
[7 empty] | Arched | 48 | 0.32
[7 empty] | Arched | 54 | 0.4

## SF6x
SF 6x Storm Sewer Inlet
Rim | 10 |  | *Max Pipe Size is 24"
Invert | 5
Depth | 5
Pipe Thickness (in) | 2.5 | [5 empty] | Pipe Size | Reduction | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness | Pipe Thickness (Arched)
|  |  |  | Standard Plate 460.01 |  |  | 12 | 0.03 | 15 | 1.72 | 278 | 0.35 | 43.9 | 2.25 | 2.25
|  |  |  | M6 Conc= | 2.7242 | CY | 15 | 0.04 | 18 | 1.82 | 290 | 0.35 | 43.9 | 2.5 | 2.5
|  |  |  | Rebar= | 403.4083 | LB | 18 | 0.05 | 24 | 2.02 | 303 | 0.35 | 43.9 | 2.75 | 2.75
Reductions | Size | Reduction |  |  |  |  | 21 | 0.07
Outlet | 18 | N/A |  |  |  |  | 24 | 0.09
Inlet 1 | 0 | 0
Inlet 2 | 0 | 0
Inlet 3 | 0 | 0
Total |  | 0
Item | Constant | Variable | V
M6 | 1.82 | 0.35 | 2.5833
Rebar | 290 | 43.9 | 2.5833

## B1-Inlet
B1 Storm Sewer Inlet
Top of Curb | 10 |  | *Max Pipe Size is 24"
Invert | 5 |  | *Depth varies from 2.5' to 5'
Depth | 5
Pipe Thickness (in) | 3 | [5 empty] | Pipe Size | Reduction | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness
|  |  |  | Standard Plate 460.07 |  |  | 12 | 0.03 | 12 | 0.27 | 28 | 0.32 | 0 | 2
|  |  |  | M6 Conc= | 1.5133 | CY | 15 | 0.04 | 15 | 0.27 | 28 | 0.32 | 0 | 2.25
|  |  |  | Rebar= | 28 | LB | 18 | 0.05 | 18 | 0.27 | 28 | 0.32 | 0 | 2.5
Reductions | Size | Reduction |  |  |  |  | 21 | 0.07 | 24 | 0.27 | 28 | 0.32 | 0 | 3
Outlet | 24 | 0.09 |  |  |  |  | 24 | 0.09
Inlet 1 | 0 | 0
Inlet 2 | 0 | 0
Inlet 3 | 0 | 0
Total |  | 0.09
Item | Constant | Variable | V
M6 | 0.27 | 0.32 | 4.1667
Rebar | 28 | 0 | 4.1667

## 2x2 Catch Basin
2x2 Catch Basin with Surface Drain
Grate | 10 |  | *Max Pipe Size is 18"
Invert | 5
Depth | 5
Pipe Thickness (in) | 2.5 | [5 empty] | Pipe Size | Reduction | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness
|  |  |  | Standard Plate 460.08 |  |  | 12 | 0.03 | 12 | 0.17 | 16 | 0.19 | 0 | 2
|  |  |  | M6 Conc= | 1.07 | CY | 15 | 0.04 | 15 | 0.17 | 16 | 0.19 | 0 | 2.25
|  |  |  | Rebar= | 16 | LB | 18 | 0.05 | 18 | 0.17 | 16 | 0.19 | 0 | 2.5
Reductions | Size | Reduction
Outlet | 18 | 0.05
Inlet 1 | 0 | 0
Inlet 2 | 0 | 0
Inlet 3 | 0 | 0
Total |  | 0.05
Item | Constant | Variable | V
M6 | 0.17 | 0.19 | 5
Rebar | 16 | 0 | 5

## SF10x SUMP
SF 10x Storm Sewer Inlet - Sump Type
Rim | 10
Invert | 5
Depth | 5 |  |  | Standard Plate 460.10
Pipe Thickness (in) | 3 |  |  | Standard Plate 460.11 |  |  |  | Pipe Size | Reduction |  | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness | Pipe Thickness (Arched)
|  |  |  | Standard Plate 460.12 |  |  |  | 12 | 0.03 |  | 18 | 4.31 | 724 | 0.49 | 68.6 | 2.5 | 2.5
|  |  |  | M6 Conc= | 5.5904 | CY |  | 15 | 0.04 |  | 21 | 4.45 | 734 | 0.49 | 68.6 | 2.75 | 2.75
|  |  |  | Rebar= | 883.0583 | LB |  | 18 | 0.05 |  | 24 | 4.59 | 743 | 0.49 | 68.6 | 3 | 3
Reductions | Size | "x" if Arched Pipe | Reduction |  |  |  |  | 21 | 0.07 |  | 27 | 4.73 | 876 | 0.49 | 68.6 | 3.25 | 3.25
Outlet | 24 |  | N/A |  |  |  |  | 24 | 0.09 |  | 30 | 4.87 | 796 | 0.49 | 68.6 | 3.5 | 3.5
Inlet 1 | 0 |  | 0 |  |  |  |  | 27 | 0.11 |  | 33 | 6.33 | 1016 | 0.55 | 78.8 | 3.75 | 3.75
Inlet 2 | 0 |  | 0 |  |  |  |  | 30 | 0.14 |  | 36 | 6.49 | 1028 | 0.55 | 78.8 | 4 | 4
Inlet 3 | 0 |  | 0 |  |  |  |  | 33 | 0.17 |  | 42 | 6.8 | 1087 | 0.55 | 78.8 | 4.5 | 4.5
Total |  |  | 0 |  |  |  |  | 36 | 0.2 |  | 48 | 8.2 | 1279 | 0.6 | 89.7 | 5 | 5
[8 empty] | 42 | 0.26 |  | 54 | 8.54 | 1314 | 0.6 | 89.7 | 5.5 | 5.5
[8 empty] | 48 | 0.34 |  | 60 | 8.88 | 1374 | 0.6 | 89.7 | 6 | 6
Item | Constant | Variable | V |  |  |  |  | 54 | 0.43 | Arched | 24 | 4.35 | 727 | 0.49 | 68.6 | 3 | 3
M6 | 4.59 | 0.49 | 2.0417 |  |  |  |  | 60 | 0.52 | Arched | 30 | 5.84 | 944 | 0.55 | 78.8 | 3.5 | 3.5
Rebar | 743 | 68.6 | 2.0417 |  |  |  | Arched | 24 | 0.09 | Arched | 36 | 6.06 | 994 | 0.55 | 78.8 | 4 | 4
[7 empty] | Arched | 30 | 0.14 | Arched | 42 | 7.28 | 1135 | 0.6 | 89.7 | 4.5 | 4.5
[7 empty] | Arched | 36 | 0.19 | Arched | 48 | 7.62 | 1189 | 0.6 | 89.7 | 5 | 5
[7 empty] | Arched | 42 | 0.25 | Arched | 54 | 7.8 | 1214 | 0.6 | 89.7 | 5.5 | 5.5
[7 empty] | Arched | 48 | 0.32
[7 empty] | Arched | 54 | 0.4

## SF6x SUMP
SF 6x Storm Sewer Inlet - Sump Type
Rim | 10 |  | *Max Pipe Size is 24"
Invert | 5
Depth | 5
Pipe Thickness (in) | 2.75 | [5 empty] | Pipe Size | Reduction | Pipe Size | Constant (M6) | Constant (Rebar) | Variable (M6) | Variable (Rebar) | Pipe Thickness
|  |  |  | Standard Plate 460.09 |  |  | 12 | 0.03 | 15 | 2.88 | 500 | 0.35 | 43.9 | 2.25
|  |  |  | M6 Conc= | 3.8819 | CY | 15 | 0.04 | 18 | 2.96 | 512 | 0.35 | 43.9 | 2.5
|  |  |  | Rebar= | 615.5438 | LB | 18 | 0.05 | 24 | 3.16 | 525 | 0.35 | 43.9 | 2.75
Reductions | Size | Reduction |  |  |  |  | 21 | 0.07
Outlet | 24 | N/A |  |  |  |  | 24 | 0.09
Inlet 1 | 0 | 0
Inlet 2 | 0 | 0
Inlet 3 | 0 | 0
Total |  | 0
Item | Constant | Variable | V
M6 | 3.16 | 0.35 | 2.0625
Rebar | 525 | 43.9 | 2.0625